HRP-023 | 06/10/2026 | Owner: Huron; H. Phillips | Approver: D. Durbin

SOP: All Emergency Use and IRB Waiver for Individual Patient Expanded Access (Drug Only) Review

PURPOSE

This procedure establishes the process to review notifications of:

Emergency use of a drug, biologic, or device in a life-threatening situation.

Non-emergency individual patient/small group expanded access for an unapproved medical device (commonly known as Compassionate Use).

Non-emergency individual patient expanded access use of an investigational drug for which an IRB waiver is requested.

The process begins when the IRB receives a notification of a proposed or actual use.

The process ends when a Designated Reviewer has:

Determined whether the proposed or actual use will follow or has followed FDA-regulation and guidance; and

Notified the physician and IRB staff of the determination.

REVISIONS FROM PREVIOUS VERSION

Section 5- Procedure: Revise language regarding compassionate use devices

Section 5.1.2 revision to better describe current practices compassionate use devices

Section 5.2.2 revision to include letter used for emergency use of device determinations

Section 5.2.3 revision to include letter used for compassionate use device determinations

Section 6- Materials: Revised accessible materials and resources

    - Added HRP-325 - WORKSHEET - Compassionate Use of an Unapproved Medical Device, HRP-574- LETTER – Review of Device Compassionate Use, and HRP-577- LETTER- Emergency Use of Device.

POLICY

Whenever possible physicians are to notify the IRB of a proposed emergency use of a drug, biologic, or device in a life-threatening situation in advance of the use.

Physicians are to notify the IRB of a proposed compassionate use of an unapproved device, for the purpose of obtaining concurrence from an IRB Chair or designee.

Emergency uses and device compassionate uses cannot be claimed as research.

Investigators are to notify the IRB of a non-emergency individual patient expanded access use of an investigational drug “Request for Authorization to Use Alternative IRB Review Procedures” identified on FDA Form 3926 (field 10.b.) or a separate waiver request included with FDA Form 1571 for the purpose of obtaining concurrence from an IRB Chair or designee.

RESPONSIBILITIES

A Designated Reviewer carries out these procedures.

PROCEDURE

Determine if the notification/request is one of the following:

Emergency use of a drug, biologic, or device in a life-threatening situation. If so, reference the HRP-322 - WORKSHEET - Emergency Use to determine whether the circumstances will meet, or if the use described in the 5-day report have met, the regulatory and guidance criteria for emergency use, and indicate the results of this determination to the IRB staff (or directly to the physician if time sensitive).

If the notice is in advance of the use, inform the IRB staff (or physician if time sensitive) that the physician can proceed with the use or work with the physician to identify what additional information/procedures the physician needs to follow. If the information provided is sufficient to confirm the circumstance meets the criteria for emergency use, no further reporting is required. If further reporting is necessary, inform the IRB staff to request the 5-day report.

If the actual emergency use described in the 5-day report did not follow FDA requirements, manage as Non-Compliance using the “Submit RNI” activity in eIRB2.

Non-emergency individual patient/small group expanded access for an unapproved medical device (commonly known as Compassionate Use).

Device expanded access requests to the IRB will usually come from either the NCH physician making the request or Office of Research Regulatory Affairs (ORRA).

After review, the IRB Chair or designee will issue a chair concurrence letter (HRP-574- LETTER – Review of Device Compassionate Use).

The letter is routed to the Chief Medical Officer for review and approval.

Fully executed letter is submitted to the physician and ORRA, as applicable.

Non-emergency individual patient expanded access use of an investigational drug for which an IRB waiver is requested. Work with ORRA to complete required regulatory submission. After review, the IRB Chair or designee will issue a chair concurrence letter (using HRP-575- LETTER- Rev of IRB Waiver for Indiv Pt Drug Exp Access) that is submitted back to ORRA and copy the physician. Then, submission will be entered in eIRB2. IRB Staff will complete the following actions:

Execute the “Submit Designated Review” activity in eIRB2. For the Review Level, choose Expedited Review and choose “IRB Chair concurrence” and “Non-emergency individual patient drug expanded access” for the category. Choose that continuing review is required.

In the “Notes” section document that the decision to concur (or not) is in lieu of review and approval at a convened IRB meeting at which a majority of the members are present per the request for a waiver under 21 CFR § 56.105 of the requirements in § 56.108(c).

If none of the above, stop processing the request and inform the physician or submitter.

Inform IRB staff and physician of the results of the evaluation.

For emergency use of a drug or biologic, complete HRP-576- LETTER- Emergency Use of Drug.

For emergency use of a device, complete HRP-577-LETTER- Emergency Use of Device.

For non-emergency individual patient/small group expanded access for an unapproved medical device (commonly known as Compassionate Use), complete notification steps outlined in Section 5.1.2 and complete HRP-574- LETTER- Review of Device Compassionate Use.

For non-emergency individual patient expanded access use of an investigational drug for which an IRB waiver is requested, complete HRP-575 - LETTER - Rev of IRB Waiver for Indiv Pt Drug Exp Access.

MATERIALS

HRP-024- SOP- New Information

HRP-322 - WORKSHEET - Emergency Use

HRP-325 - WORKSHEET - Compassionate Use of an Unapproved Medical Device

HRP-574- LETTER – Review of Device Compassionate Use

HRP-575 - LETTER - Rev of IRB Waiver for Indiv Pt Drug Exp

HRP-576- LETTER- Emergency Use of Drug

HRP-577- LETTER- Emergency Use of Device

REFERENCES

21 CFR § 50.23; 21 CFR § 50.24; 21 CFR § 56.102(d); 21 CFR § 56.104(c)

21 CFR § 312.305

21 CFR § 56.105; 21 CFR § 56.108(c)

Individual Patient Expanded Access Applications: Form FDA 3926 Guidance for Industry: https://www.fda.gov/regulatory-information/search-fda-guidance-documents/individual-patient-expanded-access-applications-form-fda-3926

AAHRPP element 1.7.C

Per FDA correspondence dated 5/6/2025, “21 CFR 50.23(a) (3) requires that the documentation required in 21 CFR 50.23(a) or (b) be submitted to the IRB within 5 working days after the use of the test article. However, if there is time for this information to be provided to the IRB before the administration of the test article, and the information was sufficient for the IRB’s needs, then there would be no expectation that the information would need to be subsequently submitted to the IRB again.”